ALTO TANGO

The plain, sleek design means this radiator matches any interior in any living style. The front curves round nicely into the side panels in one flowing seamless form. A range of colours allows you to go that one step further in fully adapting the Alto Tango to match your interior requirements.

Product:	the decorative vertical radiator with a centre connection, a minimum distance to the wall and a neat angular look

Finishing:	completely smooth, angled design

Also supplied:	wall brackets, ETA safety screws and plugs, screws, plugs, air vent, blind plugs and installation instructions

Connections:	4 x ½” female connection (centre connection included)

Lugs:	no lugs

Packaging:	Every radiator is sturdily packaged with protective foam-filled bags, in high-quality cardboard and wrapped in plastic. The radiator’s characteristics are shown on the label: type – height – length.

Warranty:	10 years, as long as the installation instructions have been followed and Henrad’s warranty conditions have been met.

Paint process:	All radiators are degreased, phosphated, cataphoretically primed and powder-coated in Henrad white 9016 as standard.

Colours:	Henrad white 9016 + 35 different Henrad colours and about 200 RAL-colours are possible

Max. operating pressure:	10 bar (tested to 13 bar)

Max. operating temperature:	110 °C

Conformity:	in accordance with EN442

Types:	21 | 22

Heights:	1.820 | 2.020 mm

Lengths:	510 | 610 mm

Depths:	96 | 119 mm