COMPACT ALL IN

The Compact All In radiator is fully dressed with side panels and a decorative upper grille that both seamlessly join the radiator. This finish enhances the attractive presentation of your living room. The Henrad radiator casings are also very safe and therefore child-friendly. This radiator is fully equipped and ready to install.

Product:	the fully encased compact radiator

Finishing:	upper grille and side panels

Also supplied:	VDI brackets with anti-lift (type Monclac), screws, plugs, air vent, blind plug and installation instructions

Connections:	4 x ½” female connection

Lugs:	2 pairs of mounting lugs up to 1.600 mm and 3 pairs from 1.800 mm

Packaging:	Every radiator is sturdily packaged in high-quality cardboard and wrapped in plastic. The radiator’s characteristics are shown on the label: type – height – length.

Warranty:	10 years, as long as the installation instructions have been followed and Henrad’s warranty conditions have been met.

Paint process:	All radiators are degreased, phosphated, cataphoretically primed and powder-coated in Henrad white 9016 as standard.

Colours:	Henrad white 9016 + 35 different Henrad colours and about 200 RAL-colours are possible

Heat cost allocator:	Suitable for heat cost allocators, both electronic and according to the evaporation principle (covered by the norm of EN834 & EN835).

Max. operating pressure:	10 bar (tested to 13 bar)

Max. operating temperature:	110 °C

Conformity:	in accordance with EN442

Quality assurance:	NF

Types:	11 | 21 | 22 | 33

Heights:	300 | 400 | 500 | 600 | 700 | 900 mm

Lengths:	400 – 3.000 mm

Depths:	61 | 77 | 100 | 158 mm